Western Sydney University Termination of Laboratory Work Checklist

| Hazardous Material/Procedures | Date Completed or Other Comments |
| --- | --- |
| ##### 1.0 Chemicals |  |
| 1.1 Evaluate all chemicals and label all containers |  |
| 1.2 Responsibility for existing chemicals transferred to: |  |
| 1.3 Prepare and label chemical waste for disposal and notify Lab Manager |  |
| 2.0 Regulated Hazardous Substances e.g. Drugs/Poisons/Carcinogens |  |
| 2.1 Contact appropriate authority regarding status of permit |  |
| 2.2 Arrange for appropriate disposal |  |
| 3.0 Cleaning of Laboratory |  |
| 3.1 Decontaminate, clean and return laboratory glassware |  |
| 3.2 Clean laboratory storage areas and surfaces |  |
| 3.3 Decontaminate and clean refrigerators/freezers used |  |
| 3.4 Decontaminate and clean incubators/ovens used |  |
| 3.5 Decontaminate and clean all other equipment used |  |
| 3.6 Return all portable equipment |  |
| 4.0 Gas Cylinders |  |
| 4.1 Return to storage area and notify Lab Manager |  |
| 5.0 Animal and Human Tissue |  |
| 5.1 Notify BRSC if terminating work with GM animals and/or tissues |  |
| 5.2 Dispose of tissue. Method used: |  |
| 5.3 Dispose of preservative. Method used: |  |
| 5.4 Transfer responsibility for remaining samples to: |  |
| 6.0 Microorganisms and Cultures |  |
| 6.1 Notify BRSC if terminating work with GM organisms |  |
| 6.2 Treat waste appropriately e.g. autoclave |  |
| 6.3 Prepare and label waste for disposal and notify Lab Manager |  |
| 6.4 Transfer responsibility for remaining samples to: |  |
| 7.0 Radioactive Material – consult RSO at all steps |  |
| 7.1 Evaluate all radioactive material |  |
| 7.2 Notify WHS of location of all radioactive material |  |
| 7.3 Label and prepare material for disposal |  |
| 7.4 Decontaminate and clean work area and equipment |  |
| 7.5 Perform contamination survey of work area. Resurvey if necessary. |  |
| 7.6 Schedule termination survey with RSO. Date of survey: |  |
| 7.7 Review results of RSO survey |  |
| 8.0 Mixed Hazards |  |
| 8.1 Identify and dispose of mixed hazards appropriately. Method used: |  |
| 9.0 Shared Storage Areas |  |
| 9.1 Check all shared areas for materials |  |
| 9.2 Responsibility for materials transferred to: |  |
| 9.3 Prepare and label waste for disposal and notify Lab Manager |  |
| 10.0 Sign-out |  |
| 10.1 Return of keys to: |  |
| 10.2 Return and sign off all Western Sydney University Laboratory Notebooks to: |  |
| 11.0 Sign Off |  |
| 11.1 Researcher signature: |  |
| 11.2 Supervisor signature: |  |
| 11.3 Lab Manager signature: |  |